## Glossary
Acronym | Definition
kV | Kilovolt
kW | Kilowatt
kWh | Kilowatt hour
MW | MegaWatt
MWh | MegaWatt Hour
GW | GigaWatt
GWh | GigaWatt Hour
GJ | Giga Joule
PJ | Peta Joule
CCS | Carbon Capture and Storage
CCGT | Combined Cycle Gas Turbine
OCGT | Open Cycle Gas Turbine
HHV | Higher Heating Value
CO2e | Carbon Dioxide Equivalent
kg | Kilogram
CAPEX | Capital Expenditure
OPEX | Operational Expenditure
PC | Pulverised Coal
Summer | December to March
Not Summer | April to November
Abbreviations
ABS | Australian Bureau of Statistics
AEMO | Australian Energy Market Operator
APR | Annual Planning Report
AQP | Applications and Queuing Policy
BIS Oxford | Bis Oxford Economics
BOM | Bureau of Meteorology
CDD | Cooling degree day
CRC | Certified Reserve Capacity
CSIRO | Commonwealth Scientific and Industrial Research Organisation
DER | Distributed energy resources
DMO | Distribution Market Operator
DSM | Demand Side Management
DSO | Distribution System Operator
DSP | Demand Side Programme
EDDQ | Expected DSM Dispatch Quantity
EOI | Expressions of Interest
ERA | Economic Regulation Authority
ESOO | Electricity Statement of Opportunities
ESS | Essential System Service
EUE | Expected unserved energy
EV | Electric vehicle
GEM | Green Energy Markets
GIA | Generator Interim Access
GSP | Gross state product
HDD | Heating degree day
INSG | Intermittent Non-Scheduled Generator
IRCR | Individual Reserve Capacity Requirement
LDC | Load duration curve
LFAS | Load Following Ancillary Service
NEM | National Electricity Market
NCS | Network Control Services
NSG | Non-Scheduled Generator
PASA | Projected Assessment of System Adequacy
POE | Probability of exceedance
PV | Photovoltaic
RBP | Robinson Bowmaker Paul
RCM | Reserve Capacity Mechanism
RCP | Reserve Capacity Price
RCR | Reserve Capacity Requirement
RCT | Reserve Capacity Target
SG | Scheduled Generator
SWIS | South West interconnected system
TSOG | Total Sent Out Generation
WEM | Wholesale Electricity Market

## Nomenclature
Indices
y, Y | Years
t, T | Time periods in each year
s, S | State
i, I | Generation types
ir, Ir | Renewable generation types (subset of i)
e, E | Emission gases
Decision Variables
GA | Generation amount (MWh)
IA | Investment amount (MW)
TF | Transmission flow (MWh)
Parameters
r | Interest rate
GenCost | Generation variable cost ($/MWh)
InvCost | Investment cost ($/MW)
Init | Initial capacity (MW)
Opex | Fixed operation and maintenance cost for existing generator
Opnew | Fixed operation and maintenance cost for new generator
phi | Demand
d | Outage rate
h | Hours
cf | Capacity factor
peak | Peak load
rm | Reserve margin
RET | Renewable energy target (MWh)
EM | Amount of emission gas
LEM | Limit of emission gas (kg)
TL | Transmission limit
CL | Construction limit

## InvCost($kW)
Y | Hydro | Coal | Solar | Gas | Bioenergy
2025 | 1691 | 1800 | 900 | 1000 | 1500
2026 | 1688 | 1809 | 880 | 994 | 1492
2027 | 1686 | 1818.045 | 860 | 988 | 1484
2028 | 1683 | 1827.135 | 840 | 982 | 1476
2029 | 1680 | 1836.271 | 820 | 976 | 1468
2030 | 1677 | 1845.452 | 800 | 970 | 1460
2031 | 1674 | 1854.68 | 780 | 964 | 1452
2032 | 1671 | 1863.953 | 760 | 958 | 1444
2033 | 1668 | 1873.273 | 740 | 952 | 1436
2034 | 1665 | 1882.639 | 720 | 946 | 1428
2035 | 1663 | 1892.052 | 700 | 940 | 1420
2036 | 1660 | 1901.512 | 680 | 934 | 1412
2037 | 1657 | 1911.02 | 660 | 928 | 1404
2038 | 1654 | 1920.575 | 640 | 922 | 1396
2039 | 1651 | 1930.178 | 620 | 916 | 1388
2040 | 1648 | 1939.829 | 600 | 910 | 1380
2041 | 1646 | 1949.528 | 580 | 904 | 1372
2042 | 1643 | 1959.276 | 560 | 898 | 1364
2043 | 1640 | 1969.072 | 540 | 892 | 1356
2044 | 1637 | 1978.917 | 520 | 886 | 1348
2045 | 1634 | 1988.812 | 500 | 880 | 1340
2046 | 1632 | 1998.756 | 480 | 874 | 1332
2047 | 1629 | 2008.75 | 460 | 868 | 1324
2048 | 1626 | 2018.794 | 440 | 862 | 1316
2049 | 1600 | 2028.888 | 420 | 856 | 1308
2050 | 1550 | 2039.032 | 400 | 850 | 1300
Average

## Cost1
Region | Technology type | Init (MW) | EM (kg/MWh) | InvCost ($/MW) | GenCost ($/MWh) | Opex ($/kWh) | Opnew ($/MWh) | Transmission cost ($/MWh) | Demand 2024 (MWh) | TranAmount (MWh) | GenAmount 2025 (MWh) | percentage (by Init for each state) | percentage (by Init for each technology) | variable OPEX | fuel ($/GJ) | fuel ($/MWh) | GenCost previous used | SRMC
ZWE | Hydro | 1119.58 | 0 | 1652038.4615 | 2 | 28 | 22.4 | 5.9269 | [6 empty] | 0 | 0 | 3.2
ZWE | Coal | 1680 | 924 | 1917132.2718 | 40 | 40 | 32 | 5.9269 | [5 empty] | 9.7 | 1.7 | 15.3 | 24.7 | 40
ZWE | Solar | 70.12 | 0 | 650000 | 0 | 14 | 11.2 | 5.9269 | [6 empty] | 0 | 0 | 2
ZWE | Gas | 5 | 630 | 925000 | 80 | 20 | 16 | 5.9269 | [5 empty] | 8.78 | 8 | 60 | 20 | 80
ZWE | Bioenergy | 92.3 | 230 | 1400000 | 18 | 42 | 33.6 | 5.9269 | [5 empty] | 8 | 0.5 | 5 | 13 | 18
Note on C2: Hydro init = 1,050MW large hydro + 69.58MW small hydro (inferred from IPP breakdown). Large hydro and '232MW small hydro, bagasse and solar IPPs' from Zimbabwe National Energy Compact; solar+bagasse totals from Annex V (Operational Captive Power Projects).
Note on C3: Coal init (MW) from Zimbabwe National Energy Compact: coal contributes 1,680MW of national installed capacity.
Note on D3: Emission factors are standard planning defaults (kgCO2/MWh) and should be confirmed/updated with your chosen emissions accounting method.
Note on F3: GenCost values use Energy Compact metric 'Average cost per kWh' thermal=0.017 and renewable=0.0032 (converted to $/MWh).
Note on C4: Solar init (MW) is sum of Solar PV capacities listed in Annex V (Operational Captive Power Projects for own use as at 10/03/2025).
Note on C6: Bioenergy init (MW) is sum of bagasse capacities listed in Annex V (Triangle 35MW, Hippo Valley 39MW, Green Fuel 18.3MW).

## Conversion
Region | Technology type | A_0 (MW) | a=cf(1-d)h | b=A_0*a | a_new | xinit_ub | xinit_lb | times | ave_cap | max_cap | old_ub
ZWE | Hydro | 1119.58 | 4380 | 4903760.4 | 4380 | 5000 | 0 | 3.5 | 100 | 1050 | 3358.74
ZWE | Coal | 1680 | 4818 | 8094240 | 4818 | 1900 | 0 | 12 | 300 | 600 | 1680
ZWE | Solar | 70.12 | 1971 | 138206.52 | 1971 | 5000 | 0 | 8.5 | 50 | 200 | 7012
ZWE | Gas | 5 | 4380 | 21900 | 4380 | 3000 | 0 | 3.2 | 100 | 300 | 250
ZWE | Bioenergy | 92.3 | 4818 | 444701.4 | 4818 | 1000 | 0 | 3 | 25 | 100 | 4615

## retirement
Y | Hydro | Coal | Solar | Gas | Bioenergy
2025 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 150 | 0 | 0 | 0
2027 | 0 | 150 | 0 | 0 | 0
2028 | 0 | 150 | 0 | 0 | 0
2029 | 0 | 150 | 0 | 0 | 0
2030 | 0 | 160 | 0 | 0 | 0
2031 | 0 | 160 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0
2039 | 10 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0
2045 | 0 | 0 | 0 | 0 | 0
2046 | 20 | 0 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0
Note on B2: Retirement schedule set to 0 due to lack of plant-specific retirement commitments in publicly available national planning documents used here. Update if you have official retirement/rehabilitation timelines.

## demand
Y | Central | Fast change
2025 | 8706000 | 8706000
2026 | 9010710 | 9097770
2027 | 9326084.85 | 9507169.65
2028 | 9652497.82 | 9934992.28
2029 | 9990335.24 | 10382066.94
2030 | 10339996.98 | 10849259.95
2031 | 10701896.87 | 11337476.65
2032 | 11076463.26 | 11847663.1
2033 | 11464139.48 | 12380807.94
2034 | 11865384.36 | 12937944.29
2035 | 12280672.81 | 13520151.79
2036 | 12710496.36 | 14128558.62
2037 | 13155363.73 | 14764343.75
2038 | 13615801.46 | 15428739.22
2039 | 14092354.51 | 16123032.49
2040 | 14585586.92 | 16848568.95
2041 | 15096082.46 | 17606754.55
2042 | 15624445.35 | 18399058.51
2043 | 16171300.94 | 19227016.14
2044 | 16737296.47 | 20092231.87
2045 | 17323101.85 | 20996382.3
2046 | 17929410.41 | 21941219.5
2047 | 18556939.77 | 22928574.38
2048 | 19206432.67 | 23960360.23
2049 | 19878657.81 | 25038576.44
2050 | 20574410.83 | 26165312.38
Note on C2: Base annual electricity produced (8,706 GWh) from Zimbabwe National Energy Compact metrics table (Pillar 1). Used here as 2025 base demand (MWh). Growth rates follow Ethiopia template and can be replaced with Zimbabwe-specific forecasts.

## Assumptions
Zimbabwe — Data Assumptions and Sources
All values calibrated to IRENA 2024 Africa, IEA, and World Bank benchmarks.
--- 1. OPEX (Fixed O&M, $/kW/yr) ---
Opex values represent fixed annual O&M costs in $/kW/yr.
The code multiplies by 1000 to convert to $/MW/yr.
Opnew = 0.80 x Opex (new plant O&M ratio).
Technology | Opex ($/kW/yr) | Opnew ($/kW/yr) | Source
Hydro | 28 | 22.4 | IRENA Africa large hydro: $25-40/kW/yr
Coal | 40 | 32 | IEA sub-Saharan coal: $30-55/kW/yr
Solar | 14 | 11.2 | IRENA Africa utility PV: $10-20/kW/yr
Gas (OCGT) | 12 | 9.6 | IEA OCGT fixed O&M: $8-15/kW/yr
Bioenergy | 42 | 33.6 | IRENA sub-Saharan biomass: $35-55/kW/yr
--- 2. InvCost ($/kW) — CAPEX Trajectories ---
Technology | 2025 ($/kW) | 2050 ($/kW) | Trend | Source
Hydro | 1691 | 1550 | -0.3%/yr | IRENA range $1,500-3,000/kW
Coal | 1800 | 2039 | +0.5%/yr | Sub-Saharan coal $1,500-2,500; rising due to declining coal industry
Solar | 1050 | 500 | -2.9%/yr | IRENA Africa avg $1,093 (2024); learning rate ~2.7%/yr
Gas (OCGT) | 1000 | 850 | -0.6%/yr | OCGT range $900-1,100/kW; mature technology
Bioenergy | 1800 | 1712 | -0.2%/yr | IRENA sub-Saharan $2,000-2,500; lower end due to agro-residue supply
--- 3. GenCost (Variable Generation Cost, $/MWh) ---
Technology | Value ($/MWh) | Composition | Source
Hydro | 3.2 | Variable O&M only | Within $2-8/MWh range
Coal | 40 | Fuel (~$43/MWh from Hwange coal at $15-20/t x 2.85 t/MWh) + variable O&M | Within $30-50/MWh range
Solar | 2 | Variable O&M only; no fuel | Within $0-3/MWh range
Gas (OCGT) | 80 | Imported gas ~$8/GJ x 10 GJ/MWh heat rate | Within $60-120/MWh range
Bioenergy | 28 | Biomass feedstock ~$20-22/MWh + variable O&M | Within $20-40/MWh range
--- 4. Conversion Sheet Parameters ---
Note. Technology-specific ceilings are long-term planning bounds on installed capacity. They reflect the scale of deployment considered feasible over the 2025-2050 planning horizon, informed by the existing system, development plans, broad resource availability, technology costs, and resource endowment. They are modeling assumptions and not estimates of technical resource potential. The values in this sheet are the ceilings used by the final production simulations.
Technology | cf*(1-d) | a (hrs) | a_new (hrs) | xinit_ub (MW) | Source
Hydro | 35.0% | 3066 | 3066 | 5000 | Kariba South and the Zambezi project pipeline (Batoka Gorge, Devil's Gorge, small hydro) provide the background. The 5 GW figure is an author-defined planning ceiling on cumulative hydro capacity to 2050.
Coal | 40.0% | 3504 | 3504 | 1900 | Hwange historical availability; ZESA/IEA data; ceiling limits new coal
Solar | 22.5% | 1971 | 1971 | 5000 | GHI ~5.7 kWh/m2/day; World Bank Solar Atlas provides the resource background. The 5 GW figure is an author-defined planning ceiling on cumulative solar capacity to 2050.
Gas (OCGT) | 85.0% | 7446 | 7446 | 3000 | Theoretical max; optimizer dispatches as peaker at lower rates
Bioenergy | 73.0% | 6394.8 | 6394.8 | 1000 | Baseload biomass; FAO/IRENA sustainable potential
--- 5. Demand ---
Base year (2025): 8,706,000 MWh (actual Zimbabwe consumption)
Central scenario: 3.5%/yr growth
Fast scenario: 4.5%/yr growth
Other scenarios will be explored in the simulation code.
--- 6. Retirement Schedule (Coal) ---
Based on 45-year plant life for Hwange units:
2028: 220 MW (Units 1-2, commissioned 1983-84)
2032: 220 MW (Units 3-4, commissioned 1985)
2037: 220 MW (Units 5-6, commissioned 1987)
Hwange 7-8 (600 MW, 2023) retire ~2063, beyond model horizon.
--- 7. Emission Factors (kg CO2e/MWh) ---
Technology | EM (kg/MWh) | Source
Hydro | 0 | Run-of-river/dam; negligible direct emissions
Coal | 924 | IPCC Tier 1 default for sub-critical coal
Solar | 0 | No direct emissions
Gas | 630 | IPCC natural gas OCGT
Bioenergy | 230 | Lifecycle emissions from agro-residue combustion
--- 8. Transmission Cost ---
$5.93/MWh applied uniformly across all technologies.
--- Sources ---
IRENA (2025), Renewable Power Generation Costs in 2024, Abu Dhabi
IEA (2024), World Energy Outlook — Africa Focus
World Bank ESMAP, Zimbabwe Power Sector Assessment
ZESA Holdings Annual Reports
Zimbabwe Energy Regulatory Authority (ZERA) data
IMF (2024), Zimbabwe Article IV Consultation
IPCC (2019), Refinement to the 2006 Guidelines for National Greenhouse Gas Inventories
— 2025 Audit Updates —
Solar CapEx 2025: $1,050 → $900/kW
IRENA 2024: global TIC $691/kW, Asia projection $500/kW by 2026. SADC region: Egypt Benban park $700/kW (2018-2020), South Africa REIPPPP rounds 4-7 averaged $720/kW. Zimbabwe placed at $900/kW reflecting moderate premium for landlocked transport, currency, and EPC scarcity. 2050 endpoint $400/kW reflects continued global learning.
Gas Opex: $12 → $20/kW/yr
IRENA SSA reference for new CCGT: $20-25/kW/yr fixed O&M (about 2% of CapEx). The original $12/kW/yr was inconsistent with IRENA benchmarks for gas turbines.
Coal fuel (\$/MWh): 0 → $15.3
Hwange sub-bituminous coal: ~$1.7/GJ × 9.0 GJ/MWh heating value = $15.3/MWh fuel cost. Combined with $9.7/MWh var O&M and $15/MWh overhead = $40/MWh GenCost.
Coal fuel (\$/GJ): 0 → $1.7
Hwange Colliery sub-bituminous coal mine-mouth price 2023-2024.
Gas fuel ($/MWh): 19 → 60
CCGT @ 50% efficiency: 7.5 GJ/MWh × $8/GJ pipeline gas = $60/MWh fuel. The $19/MWh value was internally inconsistent with the $80/MWh GenCost.
SRMC convention (per Sun et al. NSW)
SRMC and "variable OPEX" columns are blank for fuel-free renewables (Hydro, Solar) and populated for thermal techs (Coal, Gas) and Bioenergy (which has fuel cost). The model code does not read SRMC; columns are kept for documentation consistency. Previous Coal SRMC=$7.50 and Gas SRMC=$6.50 were incorrect — they should equal GenCost ($40 and $80) since these are fuel-driven thermal plants.
Conversion sheet: NSW column structure
Dropped Zimbabwe-specific cap_credit and lag_years columns (not used by code). Added NSW-standard ave_cap and max_cap columns. Filled old_ub (was NaN). All values reflect Zimbabwe operational reality: ave_cap reflects typical project size for new build (Hydro 100 MW = small hydro; Coal 300 MW = Hwange-style unit; Solar 50 MW = utility-scale farm).
InvCost($kW) and retirement headers
Renamed first column from "Year" to "Y" to match Sun et al. NSW convention. Removed extra "Average" row and trailing blank from InvCost (was 28 rows; now 26 rows for 2025-2050).
What was NOT changed (deliberate user values, audited and confirmed)
All Init capacities (Hydro 1120, Coal 1680, Solar 70, Gas 5, Bio 92), all CFs (0.50/0.55/0.225/0.50/0.55), Hydro/Coal/Gas/Bioenergy CapEx trajectories, GenCost values, EM values (924/630/230), demand path (3.5%/yr CAGR anchored at 8.706 TWh in 2025), retirement schedule (100 MW Coal in 2028, etc.). The xinit_ub limits recorded at that time (3500/1900/10000/3000/1000) were later superseded; see the note at row 111.
- 2025 Pathway A notes (SUPERSEDED for the capacity ceilings) - The ceiling reductions described in the rows below were explored during calibration and were NOT adopted. The authoritative planning ceilings are Hydro 5000, Coal 1900, Solar 5000, Gas 3000, Bioenergy 1000 MW, as recorded in the Conversion sheet and section 4 above and as used by the final production simulations. The retirement-schedule and CapEx notes below remain in force.
Coal retirement schedule: realistic Hwange aging
Updated from "100 MW in 2028 + 220 MW in 2037" to a unit-by-unit retirement schedule based on actual Hwange Power Station ages: Units 1-2 (commissioned 1983, 38-42 years old in 2025) retire 2026-2027; Units 3-6 (commissioned 1986-1987) retire 2028-2031. Total scheduled retirement of 920 MW over 2026-2031 — units 1-6. Units 7&8 (Hwange Stage III, 600 MW commissioned 2022-2023) remain operational throughout the planning horizon (design life to 2055-2065). Source: ZESA Hwange operational records; SADC Power Pool Generation Mix Report 2024.
Solar UB: superseded candidate 3000 MW (not adopted; final ceiling 5000 MW)
Superseded candidate. This note argued for a 3 GW solar ceiling from the IRP 2030 target of about 2 GW extrapolated to 2050. It was not adopted. The final planning ceiling is 5 GW. Source retained as resource and policy background: Zimbabwe National Renewable Energy Policy (2019); ZERA IRP draft 2023.
Hydro UB: superseded candidate 2500 MW (not adopted; final ceiling 5000 MW)
Superseded candidate. This note itemized about 2480 MW from Kariba South, Batoka Gorge, Devil's Gorge, Mphoengs and small hydro. It was not adopted. The final planning ceiling is 5 GW. Source retained as background: Zambezi River Authority; ZRA Batoka Gorge Hydroelectric Scheme feasibility 2020.
Gas UB: superseded candidate 1500 MW (not adopted; final ceiling 3000 MW)
Superseded candidate. This note argued for a 1-2 GW LNG-fed ceiling given the absence of domestic gas infrastructure. It was not adopted. The final planning ceiling is 3 GW. Source retained as background: African Gas Outlook 2024; Mozambique LNG export trajectory.
Bioenergy CapEx: $1786 → $1500/kW (2025); $1712 → $1300/kW (2050)
Lowered to reflect cogeneration co-investment with Zimbabwe sugar industry. Bagasse-based cogen at Triangle, Hippo Valley, and other estates is capital-light when integrated with existing sugar mill steam systems. Pure standalone biomass would be $2000+/kW; integrated cogen ~$1500/kW. Source: IRENA Bioenergy SSA Outlook 2024 (sugar cogen reference range $1200-1800/kW); Zimbabwe Sugar Industries.
Bioenergy GenCost: $28 → $18/MWh
Lowered to reflect bagasse opportunity-cost-only fuel pricing. In Zimbabwe sugar industry, bagasse is currently burned for steam/process heat; electricity export uses incremental capacity. Fuel cost = $0.5/GJ opportunity cost × 10 GJ/MWh = $5/MWh. Combined with $8/MWh variable O&M and $5/MWh overhead = $18/MWh GenCost. Previous $28/MWh assumed commercial wood-fuel pricing, which doesn't apply to industrial bagasse. Source: FAO Sustainable Bioenergy Indicators 2024; Triangle Sugar Industry operational data.
Note on retirement freedom under Sun et al. formulation
Sun et al. (2025) does not include a minimum-capacity floor for thermal plants — the LP can retire faster than the schedule if economically rational. The retirement schedule provides the MINIMUM scheduled retirement (must happen). Voluntary additional retirement can occur if Solar/Hydro alternatives are cheaper. This is a perfect-foresight artifact of the Sun et al. methodology. We preserve paper-fidelity rather than adding a non-paper minimum-capacity constraint. However, with Solar UB tightened to 3000 MW and Hydro UB to 2500 MW, the cheap-RE potential no longer overwhelms Coal/Bio economically, so they should remain operational over more of the horizon.

## References
Capacity Factor (CF) References — Zimbabwe Power Sector 2025-2050
Long-term planning values for the GEP-SDDP model. Each row documents the value adopted in the Conversion sheet, the operational range observed in real Zimbabwe / regional data, and the primary source. Drought-state values are noted but not used as the baseline planning value, since a 26-year horizon should reflect long-term means rather than current crisis conditions.
Technology | Adopted CF | Operational range | Drought / degraded value | Justification | Source(s)
Hydro | 0.50 | 0.55–0.80 (ZPC design); 0.54–0.65 (long-term avg pre-drought) | 0.27–0.35 (2022–2023 drought) | Kariba South Power Station (1050 MW) is the dominant hydro asset. ZPC publishes a design load factor of 0.80 and stated long-term average of 0.55–0.65 in normal hydrological conditions. The Batoka Gorge project (planned 1.2 GW Zimbabwe share) and small hydro additions also operate in the 0.40–0.55 range. The 0.50 value reflects a long-term mean, balanced between drought-affected recent years and historical averages. | Zimbabwe Power Company (zpc.co.zw/powerstations/2/kariba-south-power-station); Zambezi River Authority hydrological data; CGEP / Columbia University (2023) "The Kariba Dam Is Failing"; IRENA Renewable Energy Statistics 2024 (Sub-Saharan Africa hydro 0.40–0.60).
Coal | 0.55 | 0.65 (ZPC stated plant load factor with 0.80 availability); 0.85 (Hwange 7&8 in 2024) | 0.30–0.45 (Hwange 1–6 pre-refurbishment, 2018–2023) | Hwange Power Station = old units 1–6 (920 MW) + new units 7&8 (600 MW). New units achieved 7,471 utilization hours in 2024 (CF=0.85). Old units have low CF (0.30–0.45) but a US$455M Jindal Steel refurbishment (2024–2027) is expected to extend their operating life and increase their CF to ~0.50. Weighted fleet CF post-refurbishment: ~0.55. Munyati & Bulawayo plants are mostly retired. | POWERCHINA (en.powerchina.cn/2024-12/04/c_828829.htm) — Hwange 7&8 7,471 utilization hours in 2024; Zimbabwe Power Company (zpc.co.zw/powerstations/1/hwange-power-station) — stated plant load factor 0.65; Engineering News (2024-08-28) — Jindal $800M revamp; Africa News Agency (2025-09-28) — Jindal $455M deal.
Solar | 0.225 | 0.20–0.27 (utility-scale, Zimbabwe latitude 17°S) | — | Utility-scale fixed-tilt PV at Zimbabwe latitude. GHI ~5.4 kWh/m²/day. Single-axis tracking would give 0.25–0.27 but the conservative fixed-tilt value (0.225) is appropriate for early-horizon deployments. Within IRENA Sub-Saharan Africa reference range. UNCHANGED from original Excel. | IRENA Renewables Readiness Assessment Zimbabwe (2024); IRENA SADC Solar Potential 2023; Sun et al. (2025) NSW reference 0.27.
Gas | 0.50 | 0.50–0.60 (CCGT baseload, IRENA SSA reference); 0.54 (Sun et al. NSW) | 0.10–0.30 (open-cycle peaker) | Zimbabwe currently has no operational gas plants. Planned facilities (e.g., Mtshabezi 270 MW CCGT) would operate as baseload-to-mid-merit. The original Excel value of 0.85 implies near-continuous baseload operation, which is implausible — no gas plant in the world consistently achieves 0.85 CF due to maintenance, economic dispatch and load-following requirements. The IRENA reference for new CCGT in Sub-Saharan Africa is 0.50–0.60. AEMO uses 0.54 for NSW gas. Adopted: 0.50, midpoint of the realistic CCGT range. | IRENA Renewables Readiness Assessment 2024; AEMO Integrated System Plan 2024; Sun et al. (2025) NSWSummary.xlsx Conversion sheet (Gas alpha=4744 → CF=0.54).
Bioenergy | 0.55 | 0.50–0.65 (mixed bagasse + wood, IRENA SSA) | 0.40–0.55 (bagasse-only, seasonal) | Zimbabwe biomass portfolio = sugar industry bagasse cogen (Triangle, Hippo Valley) + wood-based biomass. Bagasse cogen runs only during the cane crushing season (~6 months) → CF 0.40–0.55. Wood-pellet base load can hit 0.65–0.85 but is supply-constrained. Mixed portfolio at 0.55 reflects a realistic Zimbabwe-specific blend. The original Excel value of 0.73 implies a wood-pellet-dominant portfolio, which exceeds Zimbabwe biomass supply availability. | IRENA Bioenergy SSA Outlook 2024; FAO Forestry Outlook Zimbabwe 2023; Triangle Limited / Hippo Valley Estates annual reports (operational CF for bagasse cogen).
Notes
1. CFs in this sheet apply to the Conversion!a=cf(1-d)h column. The model uses alpha = CF * 8760 (annual energy yield per MW of nameplate). b=A_0*a and a_new columns are kept internally consistent.
2. The values are LONG-TERM PLANNING values (2025–2050 mean). For drought-state sensitivity analyses, a separate scenario could lower hydro CF to 0.35 and run as a "drought stress test" — but this should not be the baseline.
3. The Conversion sheet retains the original "old_ub" and "xinit_ub" columns unchanged. Only the alpha (annual energy yield) values were updated.